## Sheet1
MIZORAM POLLUTION CONTROL BOARD
Continuous Ambient Air Quality Monitoring Report
(MAIN POLLUTANTS)
Report |  | 2024-06-01 | Station Name : |  |  |  | Sikulpuikawn |  |  |  |  | JUNE
Report No |  | 2024-06-01 | [8 empty] | Date : 30/06/2024
Monitoring Location |  |  | Sikulpuikawn
Data Interval |  | Day |  |  |  |  | Data Submitted to MPCB By Swan technical service pvt.Ltd
Monitoring Conducted By: |  |  | Swan Technical Services Pvt.Ltd | [5 empty] | Data Submitted on : 30/06/2024
Date | SPK_MV_Aizawl-PM10-(ug/m3)-Normalized | SPK_MV_Aizawl-NO2-(ug/m3)-Normalized | SPK_MV_Aizawl-SO2-(ug/m3)-Normalized | SPK_MV_Aizawl-RH-(%)-Normalized | SPK_MV_Aizawl-Temp-(Degree)-Normalized | SPK_MV_Aizawl-WD-(Degree)-Normalized | SPK_MV_Aizawl-PM2.5-(ug/m3)-Normalized | SPK_MV_Aizawl-NOx-(ug/m3)-Normalized | SPK_MV_Aizawl-NO-(ug/m3)-Normalized | SPK_MV_Aizawl-NH3-(ug/m3)-Normalized | SPK_MV_Aizawl-CO-(mg/m3)-Normalized | SPK_MV_Aizawl-Rain-(mm)-Normalized | SPK_MV_Aizawl-WS-(m/s)-Normalized | SPK_MV_Aizawl-Pressure-(kpa)-Normalized | SPK_MV_Aizawl-SR-(W/m2)-Normalized | SPK_MV_Aizawl-O3-(ug/m3)-Normalized | SPK_MV_Aizawl-Benzene-(ug/m3)-Normalized | SPK_MV_Aizawl-Toulene-(ppb)-Normalized | SPK_MV_Aizawl-Ethyl --(ppb)Normalized | SPK_MV_Aizawl-MP-(ppb)-Normalized | SPK_MV_Aizawl-Oxylene-(ppb)-Normalized
Day 1 | 72.4 | 0.34 | 2.13 | 77.57 | 27.44 | 222.18 | 12.12 | 2.55 | 1.84 | 6.11 | 0.27 | 0 | 8.76 | 885.92 | 94.56 | 1.98 | 0.05 | 0.1 | 0.07 | 0.08 | 0.04
Day 2 | 59.13 | 0.11 | 2.1 | 81.85 | 25.94 | 214.74 | 12.25 | 2.1 | 1.77 | 6.66 | 0.21 | 0 | 10.12 | 886.46 | 83.65 | 4.02 | 0.04 | 0.07 | 0.05 | 0.06 | 0.03
Day 3 | 45.33 | 0.45 | 2.05 | 91.47 | 23.26 | 225.55 | 9.86 | 2.61 | 1.85 | 5.33 | 0.24 | 0.08 | 10.91 | 885.72 | 54 | 2.92 | 0.05 | 0.08 | 0.06 | 0.07 | 0.04
Day 4 | 29.45 | 0.33 | 2 | 93.41 | 23.11 | 233.72 | 4.65 | 2.42 | 1.8 | 2.77 | 0.23 | 0.03 | 9.8 | 885.91 | 41.9 | 2.09 | 0.05 | 0.08 | 0.06 | 0.07 | 0.03
Day 5 | 44.09 | 0.74 | 2.13 | 89.01 | 24.64 | 193.26 | 8.72 | 3.01 | 1.97 | 7.8 | 0.29 | 0 | 11.95 | 885.75 | 54.15 | 4.8 | 0.06 | 0.1 | 0.07 | 0.09 | 0.04
Day 6 | 60.27 | 0.43 | 2.08 | 88.63 | 24.24 | 219.61 | 10.45 | 2.36 | 1.67 | 5.12 | 0.3 | 0.01 | 8.29 | 885.62 | 57.57 | 2.64 | 0.06 | 0.11 | 0.08 | 0.09 | 0.04
Day 7 | 46.03 | 0.64 | 2.07 | 92.57 | 23.32 | 216.75 | 10.11 | 2.65 | 1.69 | 4.99 | 0.29 | 0.07 | 11.73 | 883.94 | 44.15 | 4.57 | 0.06 | 0.1 | 0.07 | 0.09 | 0.04
Day 8 | 48.74 | 0.31 | 2.06 | 91.9 | 23.55 | 233 | 10.93 | 2.21 | 1.59 | 3.64 | 0.24 | 0.06 | 7.52 | 883.74 | 53.89 | 12.77 | 0.05 | 0.08 | 0.06 | 0.07 | 0.04
Day 9 | 33.67 | 0.1 | 2.04 | 94.36 | 23.11 | 216.31 | 6 | 1.88 | 1.6 | 2.97 | 0.18 | 0.03 | 10.89 | 883.4 | 42.7 | 13 | 0.04 | 0.06 | 0.04 | 0.05 | 0.03
Day 10 | 49.12 | 0.78 | 2.02 | 86.87 | 24.17 | 215.54 | 9.26 | 2.65 | 1.61 | 2.5 | 0.26 | 0.02 | 7.33 | 883.49 | 25.69 | 13.5 | 0.05 | 0.09 | 0.07 | 0.08 | 0.04
Day 11 | 75.59 | 0.81 | 2.1 | 85.39 | 26.1 | 212.4 | 12.05 | 2.86 | 1.77 | 3.63 | 0.32 | 0 | 6.62 | 883.59 | 52.46 | 7.67 | 0.06 | 0.11 | 0.08 | 0.1 | 0.05
Day 12 | 35.31 | 0.63 | 2.16 | 89.63 | 24.48 | 215.45 | 8.16 | 2.75 | 1.8 | 5.18 | 0.29 | 0 | 7.84 | 883.72 | 49.19 | 7.55 | 0.06 | 0.1 | 0.07 | 0.09 | 0.04
Day 13 | 27.65 | 0.23 | 2.02 | 96.27 | 22.55 | 232.63 | 4.94 | 2.13 | 1.64 | 1.96 | 0.19 | 0.03 | 11.08 | 883.22 | 21.05 | 5.27 | 0.04 | 0.07 | 0.05 | 0.06 | 0.03
Day 14 | 44.44 | 0.57 | 2.01 | 92.5 | 23.55 | 222.48 | 8.6 | 2.49 | 1.64 | 1.34 | 0.24 | 0 | 8.5 | 882.64 | 33.29 | 13.6 | 0.05 | 0.08 | 0.06 | 0.07 | 0.04
Day 15 | 43.99 | 0.25 | 2.01 | 94.5 | 22.43 | 225.91 | 11.92 | 2.17 | 1.61 | 1.08 | 0.19 | 0.03 | 11.57 | 882.74 | 18.95 | 9.45 | 0.04 | 0.07 | 0.05 | 0.06 | 0.03
Day 16 | 35.12 | 0.06 | 2.01 | 91.56 | 23.73 | 221.45 | 7.04 | 1.88 | 1.64 | 0.75 | 0.17 | 0 | 7.49 | 884.13 | 36.44 | 5.6 | 0.03 | 0.06 | 0.04 | 0.05 | 0.03
Day 17 | 33.07 | 0.19 | 2 | 96.34 | 22.71 | 230.01 | 7.22 | 2.05 | 1.63 | 0.81 | 0.19 | 0.04 | 9.95 | 884.25 | 16.87 | 57.11 | 0.04 | 0.07 | 0.05 | 0.06 | 0.03
Day 18 | 26.6 | 0.55 | 2 | 95.75 | 21.61 | 237.83 | 6.3 | 2.54 | 1.67 | 0.49 | 0.21 | 0.12 | 11.42 | 882.76 | 9.08 | 28.99 | 0.04 | 0.07 | 0.05 | 0.06 | 0.03
Day 19 | 22.14 | 0.45 | 2.01 | 90.03 | 22.59 | 221.22 | 4.33 | 2.36 | 1.67 | 0.57 | 0.21 | 0.02 | 8.64 | 881.33 | 35.71 | 13.08 | 0.04 | 0.07 | 0.05 | 0.06 | 0.03
Day 20 | 19.28 | 0.57 | 2.12 | 86.13 | 24.94 | 218.31 | 2.8 | 2.57 | 1.79 | 1.66 | 0.24 | 0 | 7.76 | 881.81 | 66.36 | 5.07 | 0.05 | 0.08 | 0.06 | 0.07 | 0.04
Day 21 | 20.59 | 0.37 | 2.11 | 93.45 | 23.95 | 225.83 | 3.22 | 2.65 | 1.94 | 1.93 | 0.29 | 0.06 | 9.55 | 881.91 | 45.07 | 3.34 | 0.06 | 0.1 | 0.07 | 0.09 | 0.04
Day 22 | 16.55 | 0.18 | 2.13 | 90.48 | 24.79 | 230.54 | 1.68 | 2.35 | 1.88 | 2.12 | 0.24 | 0.03 | 12.51 | 882.21 | 54.26 | 4.43 | 0.05 | 0.09 | 0.06 | 0.07 | 0.04
Day 23 | 10.41 | 0.07 | 2.17 | 91.09 | 24.9 | 224.66 | 1.26 | 2.24 | 1.93 | 3.12 | 0.23 | 0.09 | 9.29 | 882.9 | 52.05 | 4.54 | 0.05 | 0.08 | 0.06 | 0.07 | 0.03
Day 24 | 23.52 | 0.78 | 2.21 | 90.59 | 25.03 | 214.82 | 4.34 | 3.32 | 2.17 | 2.88 | 0.31 | 0 | 7.01 | 882.18 | 41.32 | 4.43 | 0.06 | 0.11 | 0.08 | 0.09 | 0.05
Day 25 | 22.4 | 0.7 | 2.19 | 93.49 | 24.4 | 211.98 | 2.82 | 3.13 | 2.11 | 2.47 | 0.34 | 0 | 7.65 | 881.84 | 31.72 | 7.33 | 0.07 | 0.12 | 0.09 | 0.1 | 0.05
Day 26 | 15.05 | 0.49 | 2.25 | 91.37 | 25.09 | 185.28 | 1.28 | 3.52 | 2.5 | 7.22 | 0.27 | 0.01 | 11 | 882.03 | 46.68 | 4.31 | 0.05 | 0.09 | 0.07 | 0.08 | 0.04
Day 27 | 17.83 | 0.37 | 2.2 | 91.64 | 24.4 | 213.39 | 2.34 | 2.84 | 2.14 | 4.3 | 0.25 | 0.01 | 8.04 | 884.1 | 41.48 | 0.07 | 0.05 | 0.09 | 0.06 | 0.07 | 0.04
Day 28 | 13.03 | 0.37 | 2.17 | 87.25 | 24.42 | 200.78 | 1.01 | 2.63 | 1.95 | 2.14 | 0.17 | 0 | 6.61 | 883.28 | 59.3 | 0.02 | 0.03 | 0.06 | 0.04 | 0.05 | 0.03
Day 29 | 10.56 | 0.17 | 2.13 | 92.64 | 22.88 | 194.84 | 1.56 | 2.25 | 1.79 | 1.85 | 0.13 | 0.01 | 12.02 | 882.89 | 27.04 | 0.08 | 0.03 | 0.04 | 0.03 | 0.04 | 0.02
Day 30 | 3.96 | 0.04 | 2.04 | 97.94 | 22.15 | 240.82 | 0.15 | 1.83 | 1.66 | 0.17 | 0.11 | 0.02 | 16.95 | 882.29 | 19.85 | 1 | 0.02 | 0.04 | 0.03 | 0.03 | 0.02
Day 31 | 0 | 0.04 | 2.01 | 99.5 | 21.49 | 268.72 | 0.39 | 1.69 | 1.59 | 0.26 | 0.11 | 0.38 | 19.88 | 881.29 | 0 | 6.36 | 0.02 | 0.04 | 0.03 | 0.03 | 0.02
Average | 32.43 | 0.39 | 2.09 | 91.13 | 23.9 | 220.65 | 6.06 | 2.47 | 1.8 | 3.03 | 0.23 | 0.04 | 9.96 | 883.45 | 42.27 | 8.12 | 0.05 | 0.08 | 0.06 | 0.07 | 0.04
Min | 0 | 0.04 | 2 | 77.57 | 21.49 | 185.28 | 0.15 | 1.69 | 1.59 | 0.17 | 0.11 | 0 | 6.61 | 881.29 | 0 | 0.02 | 0.02 | 0.04 | 0.03 | 0.03 | 0.02
Max | 75.59 | 0.81 | 2.25 | 99.5 | 27.44 | 268.72 | 12.25 | 3.52 | 2.5 | 7.8 | 0.34 | 0.38 | 19.88 | 886.46 | 94.56 | 57.11 | 0.07 | 0.12 | 0.09 | 0.1 | 0.05
Geom.Mean | 32.43 | 0.39 | 2.09 | 91.13 | 23.9 | 220.65 | 6.06 | 2.47 | 1.8 | 3.03 | 0.23 | 0.04 | 9.96 | 883.45 | 42.27 | 8.12 | 0.05 | 0.08 | 0.06 | 0.07 | 0.04
Median | 18.76 | 0.24 | 0.07 | 4.45 | 1.31 | 15.23 | 3.93 | 0.42 | 0.21 | 2.1 | 0.06 | 0.07 | 2.85 | 1.44 | 19.83 | 10.61 | 0.01 | 0.02 | 0.02 | 0.02 | 0.01
Mode | 72.4 | 0.37 | 2.01 | 77.57 | 23.11 | 222.18 | 12.12 | 2.65 | 1.67 | 6.11 | 0.24 | 0 | 8.76 | 885.92 | 94.56 | 4.43 | 0.05 | 0.07 | 0.06 | 0.07 | 0.04
Std.Deviation | 29.45 | 0.37 | 2.08 | 91.56 | 23.95 | 221.22 | 6 | 2.49 | 1.77 | 2.5 | 0.24 | 0.02 | 9.55 | 883.28 | 42.7 | 4.8 | 0.05 | 0.08 | 0.06 | 0.07 | 0.04
Valid Data Points | 31 | 31 | 31 | 31 | 31 | 31 | 31 | 31 | 31 | 31 | 31 | 31 | 31 | 31 | 31 | 31 | 31 | 31 | 31 | 31 | 31
Total Data Points | 31 | 31 | 31 | 31 | 31 | 31 | 31 | 31 | 31 | 31 | 31 | 31 | 31 | 31 | 31 | 31 | 31 | 31 | 31 | 31 | 31
Data Availability % | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100
Uncertainty | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0