## Sheet1
MIZORAM POLLUTION CONTROL BOARD
Continuous Ambient Air Quality Monitoring Report
(MAIN POLLUTANTS)
Report |  | 2024-12-01 | Station Name : |  |  |  | Sikulpuikawn |  |  |  |  | DECEMBER
Report No |  | 2024-12-01 | [8 empty] | Date : 31/12/2024
Monitoring Location |  |  | Sikulpuikawn
Data Interval |  | Day |  |  |  |  | Data Submitted to MPCB By Swan technical service pvt.Ltd
Monitoring Conducted By: |  |  | Swan Technical Services Pvt.Ltd | [5 empty] | Data Submitted on : 31/12/2024
Date | SPK_MV_Aizawl-PM10-(ug/m3)-Normalized | SPK_MV_Aizawl-NO2-(ug/m3)-Normalized | SPK_MV_Aizawl-SO2-(ug/m3)-Normalized | SPK_MV_Aizawl-RH-(%)-Normalized | SPK_MV_Aizawl-Temp-(Degree)-Normalized | SPK_MV_Aizawl-WD-(Degree)-Normalized | SPK_MV_Aizawl-PM2.5-(ug/m3)-Normalized | SPK_MV_Aizawl-NOx-(ug/m3)-Normalized | SPK_MV_Aizawl-NO-(ug/m3)-Normalized | SPK_MV_Aizawl-NH3-(ug/m3)-Normalized | SPK_MV_Aizawl-CO-(mg/m3)-Normalized | SPK_MV_Aizawl-Rain-(mm)-Normalized | SPK_MV_Aizawl-WS-(m/s)-Normalized | SPK_MV_Aizawl-Pressure-(kpa)-Normalized | SPK_MV_Aizawl-SR-(W/m2)-Normalized | SPK_MV_Aizawl-O3-(ug/m3)-Normalized | SPK_MV_Aizawl-Benzene-(ug/m3)-Normalized | SPK_MV_Aizawl-Toulene-(ppb)-Normalized | SPK_MV_Aizawl-Ethyl --(ppb)Normalized | SPK_MV_Aizawl-MP-(ppb)-Normalized | SPK_MV_Aizawl-Oxylene-(ppb)-Normalized
Day 1 | 16.64 | 0.1 | 2.52 | 82.3 | 21.49 | 207.63 | 0 | 1.31 | 1.1 | 3.89 | 0.03 | 0 | 12.11 | 887.9 | 70.82 | 5.36 | 0.01 | 0.01 | 0.01 | 0.01 | 0
Day 2 | 24.67 | 0.09 | 2.51 | 82.52 | 21.34 | 211.06 | 0 | 1.38 | 1.15 | 3.18 | 0.03 | 0 | 12.03 | 888.75 | 45.43 | 5.65 | 0.01 | 0.01 | 0.01 | 0.01 | 0
Day 3 | 34.82 | 0.11 | 2.53 | 77.43 | 21.31 | 222.41 | 0.83 | 1.4 | 1.14 | 3.22 | 0.04 | 0 | 10.93 | 888.95 | 62.64 | 11.61 | 0.01 | 0.01 | 0.01 | 0.01 | 0.01
Day 4 | 37.34 | 0.11 | 2.52 | 65.5 | 19.27 | 219.69 | 1.52 | 1.39 | 1.12 | 4.8 | 0.04 | 0 | 14.34 | 888.54 | 60.11 | 21.9 | 0.01 | 0.01 | 0.01 | 0.01 | 0.01
Day 5 | 66.97 | 0.05 | 2.53 | 70.92 | 17.59 | 221.13 | 13.15 | 0.61 | 2.49 | 6.07 | 0.04 | 0 | 10.93 | 888.29 | 65.19 | 23.85 | 0.01 | 0.01 | 0.01 | 0.01 | 0.01
Day 6 | 108.98 | 0.03 | 2.53 | 70.33 | 16.84 | 222.09 | 21.85 | 0.22 | 0.48 | 7.77 | 0.03 | 0 | 10.18 | 887.7 | 58.32 | 18.26 | 0.01 | 0.01 | 0.01 | 0.01 | 0
Day 7 | 104.75 | 0.03 | 2.53 | 78.13 | 16.78 | 220.13 | 16.91 | 0.24 | 0.5 | 8.12 | 0.03 | 0 | 11.99 | 888.06 | 67.05 | 6.43 | 0.01 | 0.01 | 0.01 | 0.01 | 0
Day 8 | 29.52 | 0.03 | 2.52 | 65.01 | 18.32 | 223 | 4.21 | 0.23 | 0.49 | 6.61 | 0.03 | 0 | 12.51 | 888.41 | 64.36 | 14.93 | 0.01 | 0.01 | 0.01 | 0.01 | 0
Day 9 | 27.78 | 0.03 | 2.53 | 72.14 | 19.14 | 217.7 | 0.78 | 0.24 | 0.52 | 6.08 | 0.03 | 0 | 11.77 | 888.37 | 66.38 | 8.12 | 0.01 | 0.01 | 0.01 | 0.01 | 0
Day 10 | 61.68 | 0.01 | 2.54 | 62.48 | 18.29 | 220.36 | 7.55 | 0.41 | 0.73 | 5.63 | 0.05 | 0 | 10.85 | 888.63 | 44.45 | 23.06 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
Day 11 | 73.53 | 0.02 | 2.54 | 82.85 | 16.65 | 230.24 | 11.45 | 0.67 | 1.04 | 6.58 | 0.06 | 0 | 16.61 | 888.84 | 57.79 | 18.84 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
Day 12 | 46.72 | 0.01 | 2.55 | 60.14 | 18.91 | 229.31 | 4.6 | 0.67 | 1 | 6.45 | 0.06 | 0 | 14.35 | 887.68 | 72.65 | 9.65 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
Day 13 | 24.26 | 0.01 | 2.55 | 45.1 | 19.84 | 224.92 | 0.17 | 0.67 | 1.03 | 6.66 | 0.06 | 0 | 10.61 | 888.55 | 66.02 | 8.63 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
Day 14 | 25.18 | 0.02 | 2.56 | 43.83 | 19.61 | 219.39 | 0.11 | 0.67 | 1.03 | 7.24 | 0.06 | 0 | 9.7 | 889.98 | 73.32 | 3.96 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
Day 15 | 11.87 | 0.01 | 2.55 | 47.48 | 20.1 | 218.4 | 0 | 0.67 | 1.04 | 5.89 | 0.06 | 0 | 10.13 | 891.1 | 64.94 | 5.72 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
Day 16 | 14.38 | 0.01 | 2.56 | 55.88 | 21.3 | 217.64 | 0 | 0.63 | 1.03 | 5.86 | 0.06 | 0 | 10.41 | 891.09 | 76.85 | 5.5 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
Day 17 | 20.03 | 0.01 | 2.56 | 66.64 | 21.57 | 219.72 | 0 | 0.68 | 1.03 | 5.23 | 0.06 | 0 | 10.96 | 890.89 | 48.51 | 4.54 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
Day 18 | 21.02 | 0.02 | 2.56 | 81.25 | 20.02 | 219.54 | 0 | 0.66 | 1 | 3.87 | 0.06 | 0 | 12.13 | 889.94 | 34.76 | 4.42 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
Day 19 | 16.05 | 0.01 | 2.55 | 74.68 | 19.3 | 219.92 | 0 | 0.65 | 1.01 | 4.97 | 0.06 | 0 | 11.59 | 890.14 | 44.04 | 5.61 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
Day 20 | 20.19 | 0.01 | 2.56 | 73.91 | 18.91 | 222.32 | 0.1 | 0.62 | 1 | 6.08 | 0.06 | 0 | 10.88 | 888.92 | 62.14 | 5.97 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
Day 21 | 23.08 | 0.01 | 2.56 | 74.45 | 15.39 | 222.95 | 0.35 | 0.61 | 1.03 | 8.38 | 0.06 | 0.01 | 10.58 | 889.31 | 5.43 | 7.53 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
Day 22 | 22.93 | 0.01 | 2.55 | 49.94 | 18.5 | 223.1 | 0.28 | 0.72 | 1.07 | 6.18 | 0.06 | 0 | 10.67 | 889.75 | 63.48 | 6.81 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
Day 23 | 25.41 | 0.01 | 2.56 | 51.72 | 18.74 | 209.36 | 0.21 | 0.7 | 1.03 | 5.83 | 0.06 | 0 | 10.32 | 889.46 | 66.44 | 7.2 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
Day 24 | 16.31 | 0.01 | 2.56 | 61.45 | 18.48 | 212.89 | 0.12 | 0.67 | 1.01 | 6.74 | 0.06 | 0 | 11.12 | 889.76 | 57.09 | 6.27 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
Day 25 | 27.91 | 0.02 | 2.55 | 69.44 | 18.18 | 208.58 | 1.72 | 0.61 | 0.99 | 5.49 | 0.06 | 0 | 10.88 | 891.52 | 35.82 | 7.19 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
Day 26 | 33.07 | 0.02 | 2.57 | 45.45 | 20.8 | 211.13 | 2.08 | 0.67 | 1.02 | 6.87 | 0.06 | 0 | 10.79 | 893.32 | 61.98 | 6.46 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
Day 27 | 40.16 | 0.01 | 2.56 | 44.91 | 20.01 | 212.92 | 1.77 | 0.73 | 1.08 | 5.73 | 0.06 | 0 | 10.88 | 892.74 | 66.71 | 6.7 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
Day 28 | 24.19 | 0 | 2.57 | 56.67 | 20.99 | 218.68 | 0.94 | 0.59 | 1.04 | 6.57 | 0.06 | 0 | 10.5 | 891.77 | 68.92 | 6.59 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
Day 29 | 33.36 | 0 | 2.57 | 74.26 | 18.62 | 207.85 | 1.91 | 0.65 | 1.05 | 5.09 | 0.06 | 0 | 13.78 | 890.96 | 59.98 | 7.06 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
Day 30 | 67.68 | 0.01 | 2.57 | 71.25 | 18.32 | 215.82 | 13.76 | 0.72 | 1.05 | 5.85 | 0.06 | 0 | 11.22 | 891.33 | 60.14 | 9.94 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
Day-31 | 61.27 | 0.01 | 2.57 | 74.72 | 17.13 | 210.79 | 9.72 | 0.66 | 1 | 6.91 | 0.06 | 0 | 14.21 | 890.65 | 61.41 | 7.21 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
Day-1 | 85.22 | 0.01 | 2.57 | 98.71 | 12.93 | 246.44 | 18.52 | 0.64 | 1.03 | 8.72 | 0.06 | 0 | 27.2 | 888.79 | 4.93 | 5.78 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
Average | 38.97 | 0.03 | 2.55 | 66.61 | 18.9 | 218.97 | 4.21 | 0.69 | 1.01 | 6.02 | 0.05 | 0 | 12.1 | 889.69 | 56.82 | 9.27 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
Min | 11.87 | 0 | 2.51 | 43.83 | 12.93 | 207.63 | 0 | 0.22 | 0.48 | 3.18 | 0.03 | 0 | 9.7 | 887.68 | 4.93 | 3.96 | 0.01 | 0.01 | 0.01 | 0.01 | 0
Max | 108.98 | 0.11 | 2.57 | 98.71 | 21.57 | 246.44 | 21.85 | 1.4 | 2.49 | 8.72 | 0.06 | 0.01 | 27.2 | 893.32 | 76.85 | 23.85 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
Geom.Mean | 38.97 | 0.03 | 2.55 | 66.61 | 18.9 | 218.97 | 4.21 | 0.69 | 1.01 | 6.02 | 0.05 | 0 | 12.1 | 889.69 | 56.82 | 9.27 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
Median | 25.68 | 0.03 | 0.02 | 13.37 | 1.88 | 7.6 | 6.23 | 0.3 | 0.33 | 1.31 | 0.01 | 0 | 3.1 | 1.46 | 16.67 | 5.61 | 0 | 0 | 0 | 0 | 0
Mode | 16.64 | 0.01 | 2.56 | 82.3 | 18.32 | 207.63 | 0 | 0.67 | 1.03 | 6.08 | 0.06 | 0 | 10.88 | 887.9 | 70.82 | 5.36 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
Std.Deviation | 27.91 | 0.01 | 2.55 | 70.33 | 18.91 | 219.69 | 0.94 | 0.67 | 1.03 | 6.08 | 0.06 | 0 | 10.96 | 889.46 | 62.14 | 7.06 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
Valid Data Points | 32 | 32 | 32 | 32 | 32 | 32 | 32 | 32 | 32 | 32 | 32 | 32 | 32 | 32 | 32 | 32 | 32 | 32 | 32 | 32 | 32
Total Data Points | 32 | 32 | 32 | 32 | 32 | 32 | 32 | 32 | 32 | 32 | 32 | 32 | 32 | 32 | 32 | 32 | 32 | 32 | 32 | 32 | 32
Data Availability % | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100
Uncertainty | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0